## Slide 1
200+ GPUs in one HPC
- available in months
GPU day 2021
Zoltán Kiss – KIFÜ - Head of HPC Dpt.

## Slide 2
Contents
What’s HPC
HPC programme
History
Development project
DC Infrastructure
HPC Infrastructure
Portal System

## Slide 3
HPC
RDI
Results
Staff
Competitiveness
Costs
Time

## Slide 5
Knowledge Transfer
Competence Center
SME connections
HPC eco- system
Infrastructure Development

## Slide 6: 20 years of Hungarian HPC
2001 60 Gflop/s
2009 900 Gflop/s
2011 48 Tflop/s
2015 0.45 Pflop/s
2022 5+ Pflop/s
https://hpc.kifu.hu/jubileum

## Slide 7
Green DC
Hot water cooled
90%- Free Cooling
Waste Heat reuse

## Slide 8
Under the hood
1.3 MW power
2 x 1 MW UPS capacity
1 x 800 kW Aggregator
700 kW warm water cooling
300 kW cool water / aircooling
2 x 2 x 260 kW warm water chillers
3 x 177 kW cold chillers

## Slide 9
Power Infrastructure

## Slide 10
Adiabatic chillers
https://youtu.be/v6MaAJyUx4Q?t=106

## Slide 11
Acoustics

## Slide 12
Moving out
2020.11 – Cloud, HSM
2021.06 - LEO
2021.07 - Apollo
2021.07 – Racks and Network

## Slide 13: Komondor intro

## Slide 14: CRAY
1975-2019 - now HPE CRAY product line
1st HPC in the world
Most machines at top500, 28 from top100
High end
‘Optimized experience’
CRAY Linux Env/Aries Interconnect/Clusterstor
Weather, etc.
Dense, high performance, big etc.

## Slide 15: HPE CRAY EX
Apollo – Generic / SGI – High Tech / Cray – High End
‘Unified experience’
CRAY Linux v/ SUSE compatibility
Slingshot eth based IC / Clusterstor storage
All workloads
Dense, high performance, big etc.

## Slide 17: 2022 – 5+ PF HPC
20 000+ CPU core, 200+ GPU
GPU 4+ PF
CPU 0,7+ PF
Big Data 9+ TB memory
MI partition 8 GPU/node
2 PB superfast storage + 10 PB tape
Most powerful
research HPC
Energy efficient DC
Extreme density
Award-winning plans
@ Heart of DE Campus

## Slide 18
2M IOPS

## Slide 20
Miért AMD?

## Slide 22
Software
Ansys
Amber20
Amsterdam Density Functional (ADF)
CharMM
Gaussian 16
Terachem
Schrödinger
MATLAB
TotalView

## Slide 23: Portál
http://hpc.kifu.hu
What could go wrong?
https://portal.hpc.kifu.hu

## Slide 24: Deploy workflow - plans
CI
CKAN
Container
HPC
(Cloud)
Visualization

## Slide 25: Results
Modeling Power Outages, Brain networks (Odor G, Hartmann B, Gustavo D, Jeffrey K)
Drug development (HEGELAB)

## Slide 26
https://conference.kifu.hu/e/hpcuserforum21
#wearehiring

## Slide 27
Thank You!
https://hpc.kifu.hu
hpc-cc@kifu.hu
kiss.zoltan@kifu.gov.hu